## Slide 1: EPA Region 9 - Covid Testing During Disaster Response
California Wildfires 2020 (approx. 250 people)
Personnel from across the U.S.
Many more important protective measures were also implemented
Designed to catch early introduction of Covid-19 into the Response population and thereby reduce spread within the Response

## Slide 2: Covid 19
Overall, 40% of infected population are asymptomatic and rate varies by age
Earliest ability to detect virus is 3 days after infection
Earliest ability to infect others is 4 days after personal infection
If sysmptoms do present, average onset is 5 days after infection

## Slide 3: There are 3 Kinds of Test Available
rt-PCR = Reverse Transcription - Polymerase Chain Reaction
Antigen Tests = rapid tests (15 minutes) in solution or fixed matrix
Antibody Testing

## Slide 4: rt-PCR is Considered the “Gold Standard”
98% sensitivity and 99% selectivity
Requires 20 minutes to 90 minutes to run the test
$120-$150 per test
Turnaround: 24 hour to >7 days; very problematic
Three possible results: detected; inconclusive or not detected

## Slide 5: Emergency Use Authorizations (EAU)
Early on there were very few EAU for testing (April 2020)
CDC has one location where all EAUs can be found
Initially only nasopharyngeal swab PCR tests by Point of Care (POC)
Eventually some Home Collection EAUs emerged with different collection methods
Yale Study regarding the value of saliva as a collection media

## Slide 6: EPA Region 9 Selected
qt-PCR using home collection analyzed at the Rutgers Lab in New Jersey
Saliva
Everyone in the Response tested 2X/week
April 2020 (1 approved EAU), July 2020 (4 approved EAUs)
Rapid Antigen Testing was not available except in POC setting

## Slide 7: Problems?
Turnaround Time
Concept of False Positives
  False Negatives = strong likelihood; False Positives = very unlikely
  For this test Positive Predictive Value and Negative Predictive Value are very different
No Problems with: Online individual registration, HIPPA compliance, lost samples,

## Slide 8: EPA Approval for Testing
Extremely Difficult
What was happening around testing in Summer and early Fall 2020
Purchased with a Credit Card