## Slide 1
Dwayne Harrington
USEPA Region 2
Response and Prevention Branch
Emergency and Remedial Response Division
harrington.dwayne@epa.gov
Ammonium Nitrate Facilities CAA 112(r) General Duty Clause
(GDC) Inspections
                Zimmerman Fertilizer
                WHR Services

## Slide 2
Zimmerman Fertilizer GDC Inspection
Stanley, Ontario County, NY
Blending Facility
Storage Facility

## Slide 3
Zimmerman Fertilizer GDC Inspection
Stanley, Ontario County, NY
Blending Facility
Storage Facility
~ 200 tons of ammonium nitrate fertilizer

## Slide 4
Zimmerman Fertilizer GDC Inspection
Stanley, Ontario County, NY
Blending Facility
Storage Facility
~ 200 tons of ammonium nitrate fertilizer
DHS request for EPA GDC Inspection

## Slide 5
Executive Order 13650: Improving Chemical Facility Safety and Security (EO 13650)
Directs the government to conduct a number of tasks, including modernizing regulations and strengthening community planning and preparedness
Aimed at preventing chemical accidents, such as the explosion in West, Texas on April 17, 2013

## Slide 6
Zimmerman Fertilizer
Blending Facility

## Slide 11
Storage Facility

## Slide 12
Zimmerman Storage Facility

## Slide 13
200 – 400 tons AN

## Slide 14
Zimmerman Fertilizer:
Facility management unfamiliar with applicable codes, regulations, and industry standards for ammonium nitrate storage and handling, including:
    OSHA Hazard Communication Standard
    employee training
    fire detection and alarm systems
Facility did not submit Tier II chemical inventory forms to local emergency services
Local first responders not aware of the hazards at the facilities
No community response plan for either facility
EPA GDC Consent Order

## Slide 15
WHR Services, Middleport,
Niagara County, NY

## Slide 17
~ 2,000 tons ammonium nitrate fertilizer

## Slide 21
AN Safety and Security Plan:
Handling and Storage SOPs
Inspections
Security
Emergency Response Plan
Local Hazmat Response
Plan (non-specific)
No Community Protection Plan

## Slide 22
Current AN Guidelines

## Slide 23
NFPA 2014
Separation Distances for AN
Percussive force
Shrapnel

## Slide 26
Projectile Debris: ~ 1 pallet AN = 1/4 mile of-site impact

## Slide 28
Projectile debris

## Slide 29
Shock wave
Projectile debris

## Slide 31
NFPA 400 2016 requirements for AN facilities of combustible construction:
public notification systems capable of immediately notifying individuals within a one-mile radius of the facility of the need to evacuate when an ammonium nitrate fire occurs.
notification system could be a reverse 911 or a siren.
one-mile evacuation distance based on information provided by the Institute of Makers of Explosives (IME) for 10-6 likelihood of death for 25 tons of AN

## Slide 32
Shock wave
Projectile debris
NFPA 400 2016

## Slide 33
Projectile debris
Shock wave
Airborne debris
NFPA 400 2016

## Slide 34
Projectile debris
Shock wave
Airborne debris
NFPA 400 2016
25 Tons AN = ~ 16 cubic yards 1 mile evacuation

## Slide 37
Blast Impact Radius

## Slide 38
Evacuation Zone

## Slide 40
Blast Impact Radius

## Slide 41
Evacuation Zone

## Slide 43
Blast Impact
Radius

## Slide 44
Evacuation Zone

## Slide 48
EPA Proposed RMP
Regulation Modernization
NFPA 400 2016: Fire detection,
alarm, and suppression system;
no grandfather clause